RST® Cover piece IP66/68(3 m; 2 h)/69 for male, 2-3-pole, captive against loss, light grey

System RST® CLASSIC - Cover piece IP66/68(3 m; 2 h)/69 for male parts RST20i2 and RST20i3, captive against loss, light grey.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I3 VS GL

Part No.: 99.415.6205.2