RST® extension cable IP66/68(3 m; 2 h)/69, female, male, 3x 1.5 mm², 250 V, 16 A, length: 5 m, leaf green

System RST® CLASSIC - assembled H07RN-F extension cable with protective ground IP66/68(3 m; 2 h)/69, 3-pole, 1.5 mm², with locking, male RST20i3, female RST20i3, according to IEC 61535, mechanical/color coding leaf green.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H07RN-F

Cable color: black

Halogen-free: no

Length: 5 m

Brand: Wieland Electric GmbH

Type: RST20I3K1BS 15H 50GN02

Part No.: 96.232.5031.7