RST® extension cable IP66/68(3 m; 2 h)/69, female, male, 3x 1.5 mm², 250 V, 16 A, B2ca, length: 2 m, black

System RST® CLASSIC - assembled H05Z1Z1-F extension cable with protective ground IP66/68(3 m; 2 h)/69, 3-pole, 1.5 mm², fire class B2ca, with locking, male RST20i3, female RST20i3, according to IEC 61535, mechanical coding light grey/black, color coding black.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H05Z1Z1-F

Fire class: B2ca

Cable color: black

Halogen-free: yes

Length: 2 m

Brand: Wieland Electric GmbH

Type: RST20I3K1BS 15B 20SW

Part No.: 96.232.20B0.1