RST® connection cable IP66/68(3 m; 2 h)/69, male, free end, 3x 1.5 mm², 250 V, 16 A, length: 1 m, black

System RST® CLASSIC - assembled H07RN-F connection cable with protective ground IP66/68(3 m; 2 h)/69, 3-pole, 1.5 mm², with locking, male RST20i3, free end (ultrasonic welded), according to IEC 61535, mechanical coding light grey/black, color coding black.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H07RN-F

Cable color: black

Halogen-free: no

Length: 1 m

Brand: Wieland Electric GmbH

Type: RST20I3K1S 15 10SW

Part No.: 96.232.1034.1