RST® connection cable IP66/68(3 m; 2 h)/69, male, free end, 2x 2.5 mm², low voltage, length: 8 m, signal brown

System RST® CLASSIC - assembled Ölflex Classic 110 connection cable IP66/68(3 m; 2 h)/69, 2-pole, 1.5 mm², with locking, male RST20i2, free end (ultrasonic welded), according to IEC 61535, mechanical/color coding signal brown.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: Ölflex Classic 110

Cable color: pebble grey

Halogen-free: no

Length: 8 m

Brand: Wieland Electric GmbH

Type: RST20I2K1S 25PL 80BR01

Part No.: 96.223.8098.4