RST® connection cable IP66/68(3 m; 2 h)/69, male, free end, 2x 1.5 mm², low voltage, Eca, length: 8 m, signal brown

System RST® CLASSIC - assembled H05VV-F connection cable IP66/68(3 m; 2 h)/69, 2-pole, 1.5 mm², fire class Eca, with locking, male RST20i2, free end (ultrasonic welded), according to IEC 61535, mechanical/color coding signal brown.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H05VV-F

Fire class: Eca

Cable color: black

Halogen-free: no

Length: 8 m

Brand: Wieland Electric GmbH

Type: RST20I2K1S 15PL 80BR01

Part No.: 96.222.8008.4