RST® extension cable IP66/68(3 m; 2 h)/69, female, male, 2x 1.5 mm², low voltage, length: 4 m, signal brown

System RST® CLASSIC - assembled H07RN-F extension cable IP66/68(3 m; 2 h)/69, 2-pole, 1.5 mm², with locking, male RST20i2, female RST20i2, according to IEC 61535, mechanical/color coding signal brown.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H07RN-F

Cable color: black

Halogen-free: no

Length: 4 m

Brand: Wieland Electric GmbH

Type: RST20I2K1BS 15L 40BR01

Part No.: 96.222.4032.4