RST® device connector M25, IP66/68(3 m; 2 h)/69, female, angled, 5-pole, 250 V + dimming, turquoise

System RST® CLASSIC - Device connector according to IEC 61535 for permanent installation, female, 5-pole, 90° angled, turned contacts with screw connection fastening screw from inside, mechanical/color coding turquoise.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Thread: M25x1.5

Terminal cross-section: 0.75 - 4.0 mm²

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: L, PE, N, D1, D2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I5S B1 M12A TB04

Part No.: 96.053.6253.6