RST® Distribution block, IP66/68(3 m; 2 h)/69, 3-pole, 1 input, 3 outputs, with mounting option, 250 V, 20 A, black

System RST® CLASSIC - Distribution block for circular connector IP66/68(3 m; 2 h)/69 according to IEC 61535, combined distribution block, H shaped, 3-pole, turned contacts, 1 input, 3 outputs, with integrated locking, with mounting option, mechanical coding light grey/black, color coding black.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Housing material: PA66, V2

Sealing material: NBR

Input: 1

Outputs: 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I3V 3P1 F V SW

Part No.: 96.030.0153.1