RST® Distribution block, IP66/68(3 m; 2 h)/69, 2-pole, 1 input, 3 outputs, parallel connection, with mounting option, low voltage, signal brown

System RST® CLASSIC - Distribution block for circular connector IP66/68(3 m; 2 h)/69 according to IEC 61535, combined distribution block (parallel connection), H shaped, 2-pole, turned contacts, 1 input, 3 outputs, with integrated locking, with mounting option, mechanical/color coding signal brown.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Housing material: PA66, V2

Sealing material: NBR

Input: 1

Outputs: 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I2V 3P1 F V L BR01

Part No.: 96.020.0151.4