RST® Spacer ring, for device connectors, female, M25, 2-5-pole, manual disconnect tool, black

System RST® CLASSIC - Spacer ring for device connectors M25 to make an unlock of the connection possible, with manual disconnect tool, 2-5-pole, black.

Housing material: PA66, V2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20 DR SW

Part No.: 05.568.8853.1