RST® crimp contact, male, 1.5 mm², without marking

System RST® CLASSIC - Crimp contact, male, for circular connector RST20i3, without marking (groove).

Terminal cross-section, fine-stranded: 1.5 mm²

Brand: Wieland Electric GmbH

Type: RST20I3C S 15

Part No.: 05.544.7900.0