RST® crimp contact, female, 4.0 mm², without marking

System RST® CLASSIC - Crimp contact, female, for circular connector RST20i3, without marking (groove).

Terminal cross-section, fine-stranded: 4.0 mm²

Brand: Wieland Electric GmbH

Type: RST20I3C B 40

Part No.: 02.122.9300.0