RST® crimp contact, female, 0.75 - 1.0 mm², with marking 1

System RST® CLASSIC - Crimp contact, female, for circular connector RST20i3, with marking (groove).

Terminal cross-section, fine-stranded: 0.75 - 1.0 mm²

Marking: 1

Brand: Wieland Electric GmbH

Type: RST20I3C B 75 10

Part No.: 02.122.9000.0